## Slide 1: Legal framework as a core element of district cooling success – the case of Denmark
HE 2014, Wuhan

## Slide 2: Introduction
District cooling in Denmark has limited success
  In Finland and Sweden they have more district cooling
Cooling is however in increasing demand (electrical compressors)
District cooling consists of two or more concepts:
  Cold water is produced or utilized in a central facility and distributed through a network to a number of buyers. Possible to use different sources such as low temperatures in groundwater, lake water and seawater (so-called “free cooling”)
  Utilising the energy in district heating water feeding district heating water to the end-user absorption unit which utilises district heating water to produce cooling water

## Slide 3: Purpose of District Cooling
Promoting energy efficiency
Reduce use of limited resources
Boost security of supply
Reduce emission of carbon dioxide
Reduce air pollution
In the small district cooling plant in central Copenhagen also supplying the University of Copenhagen costs is cut by up to 40 % and CO2 emission by up to 70 %

## Slide 4: In a Chinese context
Many large cities with a demand for cooling
Can function
  in combination with development of district heating (in cities with hot summers and cold winters)
  where access to cold water exists
Could contribute to cut air pollution problems by better energy efficiency

## Slide 5: Why a legal matter?
Solutions can be implemented in public owned building by decision of the owner
Regarding privately owned building they may do it voluntarily, but
  District cooling requires a relatively large initial investment (which can be difficult to get private investors to undertake)

## Slide 6: Possible Legal Instruments
Leave the process to the market
  The huge initial investment is a problem
  Same applies to other utilities
Leave the investment to the public
Put up public guarantees to cooperatives
Forced connection to the district cooling grid
Prohibit other solutions
Include energy consumption in connection with cooling into building standard
  Demand energy efficiency assessment

## Slide 7: Who is regulated by the Danish District Cooling Act?
In principle, anyone could establish a district cooling project in Denmark
However, municipal owned must have the legal competence to engage in district heating
  This can be found in an explicit legal provision or in the legal tradition (the historical context)
This competence is now provided by the District Cooling Act (issued 2008)

## Slide 8: Unbundling and financing
Municipality owned district cooling plants must be operated on commercial terms
  The marked economy investor principle
  In opposition to district heating
Economical separation between the district cooling plant and the municipality
The districting cooling company must not involve itself in other business
Marked price for its services
  No legal monopoly nor monopoly regulation

## Slide 9: Investment
Projects are to be approved by the municipality
Municipalities guarantees are prohibited also to a plant owned by the municipality
Invested capital from the municipalities must compete with other purposes (elder care, schools etc.)
The State has put a total limit over the possibility for municipalities to loan money
The investment must be economical justified

## Slide 10: Recommendations
Municipalities should be allowed to provide loan guarantees for district cooling
  Loans at low interest are available with guarantee
  Risk is low
Municipal district heating companies should be allowed to operate district cooling activities
  They have the money and the expertise
Municipalities should be more active including districting cooling in the development of commercial zones (no planning obligation)

## Slide 11: Thank you for your attention
Bent Ole Gram Mortensen
Professor of Law, LLM, PhD
University of Southern Denmark
Department of Law
Campusvej 55 – DK-5230 Odense M
Phone +45 6550 2160 (direct), Fax +45 6593 0726
E-mail: bom@sam.sdu.dk
http://www.sam.sdu.dk/staff/bom